## PFOA
PFOA | m-PFOA |  | 5
verwijzing
automatisch
exporteren
zelf berekenen
#REF!
[10 empty] | Correct for ISTD |  | Concentration (uncorrected) |  | Correct for contamination |  |  | BL corrected concentration |  |  | LOQ calculations
|  | Name | ID | RT | Area | IS Area | S/N | Weight | Matrix | corr factor | corr IS area | conc (pg/g) | conc (µg/kg) | gem. conc pb (µg/kg) |  |  | CORR concentratie (µg/kg) | Tussenstap | CORR concentratie (µg/kg) | Area if S/N = 10 | LOQ (pg/g) | LOQ (µg/kg) | gem LOQ Soil | Z-score |  | corrected average LOQ Soil | corrected average LOQ Biota | corrected average LOQ
|  | 250228-Frouke-VMM-001 | ACN |  |  |  |  | #N/A | #N/A | 0.46073 | 0 | #DIV/0! | #DIV/0! | Soil | Biota |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.47785 | #DIV/0! | mean | 0.47785 | 0.57231 | #DIV/0!
|  | 250228-Frouke-VMM-002 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! | 0.015933 | 0 | #DIV/0! | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | stdev loq Soil | #DIV/0! | stdev | 0.22457 | 0.51535 | #DIV/0!
|  | 250228-Frouke-VMM-003 | BL1_Biota | 4.06 | 94.679 | 7238.938 | 16.34 | 7.82 | Soil |  | 3335.2133 | 18.1507 | 0.018151 |  |  |  | 0.002218 | TRUE | 0.002218 | 57.9431 | 11.1081 | 0.011108 | 0.22457 | -2.0784 | n | 37 | 29 | 4
|  | 250228-Frouke-VMM-004 | 73)PF1_1.3_1_Soil | 4.1 | 102.385 | 4047.794 | 15.021 | 0.327 | Soil |  | 1864.9498 | 839.4434 | 0.83944 |  |  |  | 0.82351 | TRUE | 0.82351 | 68.1612 | 558.8466 | 0.55885 | gem LOQ Biota | 0.36065
|  | 250228-Frouke-VMM-005 | 74)PF1_1.3_2_Soil | 4.09 | 56.471 | 3482.947 | 4.384 | 0.355 | Soil |  | 1604.7065 | 495.6459 | 0.49565 |  |  |  | 0.47971 | FALSE | <LOQ | 128.8116 | 1130.5791 | 1.1306 | 0.57231 | 2.9065
|  | 250228-Frouke-VMM-006 | 75)PF1_1.3_3_Soil |  |  | 4216.132 |  | 0.335 | Soil |  | 1942.5086 | 0 | 0 |  |  |  | -0.015933 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | stdev loq Biota | #DIV/0!
|  | 250228-Frouke-VMM-007 | 76)PF1_1.3_4_Soil | 4.06 | 97.986 | 3695.606 | 8.168 | 0.332 | Soil |  | 1702.6854 | 866.6855 | 0.86669 |  |  |  | 0.85075 | FALSE | <LOQ | 119.9633 | 1061.0743 | 1.0611 | 0.51535 | 2.597
|  | 250228-Frouke-VMM-008 | 77)PF1_1.3_5_Soil |  |  | 2562.407 |  | 0.364 | Soil |  | 1180.5839 | 0 | 0 |  |  |  | -0.015933 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | gem LOQ | #DIV/0!
|  | 250228-Frouke-VMM-009 | 78)PF1_1.3_6_Soil | 4.09 | 75.924 | 3769.978 | 8.53 | 0.356 | Soil |  | 1736.951 | 613.9196 | 0.61392 |  |  |  | 0.59799 | FALSE | <LOQ | 89.0082 | 719.7182 | 0.71972 | #DIV/0! | 1.077
|  | 250228-Frouke-VMM-010 | 79)PF1_1.3_7_Soil | 4.11 | 93.305 | 4002.637 | 10.12 | 0.307 | Soil |  | 1844.1446 | 824.0273 | 0.82403 |  |  |  | 0.80809 | TRUE | 0.80809 | 92.1986 | 814.2562 | 0.81426 | stdev loq | 1.498
|  | 250228-Frouke-VMM-011 | 80)PF1_1.3_8_Soil | 4.08 | 97.677 | 3540.064 | 10.43 | 0.3453 | Soil |  | 1631.0222 | 867.1732 | 0.86717 |  |  |  | 0.85124 | TRUE | 0.85124 | 93.65 | 831.4221 | 0.83142 | #DIV/0! | 1.5744
|  | 250228-Frouke-VMM-012 | 81)PF1_1.7_1_Soil | 4.08 | 664.436 | 5614.69 | 91.015 | 0.333 | Soil |  | 2586.8696 | 3856.5982 | 3.8566 |  |  |  | 3.8407 | TRUE | 3.8407 | 73.0029 | 423.7321 | 0.42373 |  | -0.241
|  | 250228-Frouke-VMM-013 | 82)PF1_1.7_2_Soil | 4.08 | 479.562 | 5454.915 | 79.133 | 0.327 | Soil |  | 2513.2561 | 2917.6304 | 2.9176 |  |  |  | 2.9017 | TRUE | 2.9017 | 60.602 | 368.6996 | 0.3687 |  | -0.48605
|  | 250228-Frouke-VMM-014 | 83)PF1_1.7_3_Soil | 4.08 | 270.395 | 5205.559 | 32.917 | 0.363 | Soil |  | 2398.3697 | 1552.9086 | 1.5529 |  |  |  | 1.537 | TRUE | 1.537 | 82.1445 | 471.7649 | 0.47176 |  | -0.027113
|  | 250228-Frouke-VMM-015 | 84)PF1_1.7_4_Soil | 4.06 | 504.212 | 5591.485 | 68.797 | 0.316 | Soil |  | 2576.1783 | 3096.8501 | 3.0969 |  |  |  | 3.0809 | TRUE | 3.0809 | 73.2898 | 450.1432 | 0.45014 |  | -0.12339
|  | 250228-Frouke-VMM-016 | 85)PF1_1.7_5_Soil | 4.09 | 287.691 | 5409.358 | 30.576 | 0.338 | Soil |  | 2492.2665 | 1707.5959 | 1.7076 |  |  |  | 1.6917 | TRUE | 1.6917 | 94.0905 | 558.4759 | 0.55848 |  | 0.359
|  | 250228-Frouke-VMM-017 | 86)PF1_1.7_6_Soil | 4.09 | 268.607 | 5476.609 | 32.473 | 0.302 | Soil |  | 2523.2512 | 1762.4626 | 1.7625 |  |  |  | 1.7465 | TRUE | 1.7465 | 82.717 | 542.7471 | 0.54275 |  | 0.28896
|  | 250228-Frouke-VMM-018 | 87)PF1_1.7_7_Soil | 4.08 | 196.314 | 5542.791 | 22.391 | 0.322 | Soil |  | 2553.7434 | 1193.6806 | 1.1937 |  |  |  | 1.1777 | TRUE | 1.1777 | 87.6754 | 533.1073 | 0.53311 |  | 0.24604
|  | 250228-Frouke-VMM-019 | 88)PF1_1.7_8_Soil | 4.09 | 407.271 | 5690.863 | 41.062 | 0.368 | Soil |  | 2621.965 | 2110.4681 | 2.1105 |  |  |  | 2.0945 | TRUE | 2.0945 | 99.1844 | 513.9711 | 0.51397 |  | 0.16082
|  | 250228-Frouke-VMM-020 | 89)PF1_1.11_1_Soil | 4.09 | 828.117 | 5215.859 | 175.342 | 0.3496 | Soil |  | 2403.1152 | 4928.5105 | 4.9285 |  |  |  | 4.9126 | TRUE | 4.9126 | 47.2287 | 281.0799 | 0.28108 |  | -0.87621
|  | 250228-Frouke-VMM-021 | 90)PF1_1.11_2_Soil | 4.09 | 266.141 | 5628.399 | 29.79 | 0.3134 | Soil |  | 2593.1858 | 1637.3788 | 1.6374 |  |  |  | 1.6214 | TRUE | 1.6214 | 89.339 | 549.6404 | 0.54964 |  | 0.31966
|  | 250228-Frouke-VMM-022 | 91)PF1_1.11_3_Soil | 4.09 | 280.369 | 5018.972 | 49.955 | 0.3538 | Soil |  | 2312.403 | 1713.4784 | 1.7135 |  |  |  | 1.6975 | TRUE | 1.6975 | 56.1243 | 343.0044 | 0.343 |  | -0.60047
|  | 250228-Frouke-VMM-023 | 92)PF1_1.11_4_Soil | 4.08 | 460.442 | 5179.359 | 61.352 | 0.3732 | Soil |  | 2386.2985 | 2585.1071 | 2.5851 |  |  |  | 2.5692 | TRUE | 2.5692 | 75.0492 | 421.3566 | 0.42136 |  | -0.25157
|  | 250228-Frouke-VMM-024 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-025 | BL2_Soil | 4.07 | 65.848 | 6211.632 | 6.842 | 7.82 | Soil |  | 2861.9001 | 14.7113 | 0.014711 |  |  |  | -0.0012214 | FALSE | <LOQ | 96.2409 | 21.5015 | 0.021501 |  | -2.0321
|  | 250228-Frouke-VMM-026 | 93)PF1_1.11_5_Soil | 4.09 | 244.774 | 5976.225 | 39.81 | 0.302 | Soil |  | 2753.4405 | 1471.8131 | 1.4718 |  |  |  | 1.4559 | TRUE | 1.4559 | 61.4856 | 369.7094 | 0.36971 |  | -0.48155
|  | 250228-Frouke-VMM-027 | 94)PF1_1.11_6_Soil | 4.1 | 591.512 | 5385.223 | 73.214 | 0.366 | Soil |  | 2481.1467 | 3256.8671 | 3.2569 |  |  |  | 3.2409 | TRUE | 3.2409 | 80.7922 | 444.8421 | 0.44484 |  | -0.147
|  | 250228-Frouke-VMM-028 | 95)PF1_1.11_7_Soil | 4.1 | 524.246 | 5362.526 | 57.887 | 0.3567 | Soil |  | 2470.6895 | 2974.2937 | 2.9743 |  |  |  | 2.9584 | TRUE | 2.9584 | 90.5637 | 513.8103 | 0.51381 |  | 0.16011
|  | 250228-Frouke-VMM-029 | 96)PF1_1.11_8_Soil | 4.09 | 381.025 | 5715.819 | 22.936 | 0.3676 | Soil |  | 2633.463 | 1967.9803 | 1.968 |  |  |  | 1.952 | TRUE | 1.952 | 166.1253 | 858.0312 | 0.85803 |  | 1.6929
|  | 250228-Frouke-VMM-030 | 97)PF1_1.15_1_Soil | 4.14 | 121.575 | 5643.526 | 6.413 | 0.3813 | Soil |  | 2600.1553 | 613.1238 | 0.61312 |  |  |  | 0.59719 | FALSE | <LOQ | 189.5759 | 956.064 | 0.95606 |  | 2.1294
|  | 250228-Frouke-VMM-031 | 98)PF1_1.15_2_Soil | 4.11 | 103.379 | 5936.77 | 11.082 | 0.394 | Soil |  | 2735.2623 | 479.6309 | 0.47963 |  |  |  | 0.4637 | TRUE | 0.4637 | 93.2855 | 432.8017 | 0.4328 |  | -0.20061
|  | 250228-Frouke-VMM-032 | 99)PF1_1.15_3_Soil | 4.07 | 104.292 | 5655.964 | 16.436 | 0.393 | Soil |  | 2605.8859 | 509.182 | 0.50918 |  |  |  | 0.49325 | TRUE | 0.49325 | 63.4534 | 309.7968 | 0.3098 |  | -0.74833
|  | 250228-Frouke-VMM-033 | 100)PF1_1.15_4_Soil | 4.12 | 107.281 | 6182.742 | 16.301 | 0.318 | Soil |  | 2848.5896 | 592.1556 | 0.59216 |  |  |  | 0.57622 | TRUE | 0.57622 | 65.8125 | 363.2633 | 0.36326 |  | -0.51026
|  | 250228-Frouke-VMM-034 | 101)PF1_1.15_5_Soil | 4.08 | 105.37 | 5996.081 | 18.485 | 0.356 | Soil |  | 2762.5888 | 535.6989 | 0.5357 |  |  |  | 0.51977 | TRUE | 0.51977 | 57.003 | 289.8019 | 0.2898 |  | -0.83737
|  | 250228-Frouke-VMM-035 | 102)PF1_1.15_6_Soil | 4.08 | 97.661 | 6028.784 | 10.217 | 0.3946 | Soil |  | 2777.6561 | 445.5081 | 0.44551 |  |  |  | 0.42958 | TRUE | 0.42958 | 95.5868 | 436.0459 | 0.43605 |  | -0.18617
|  | 250228-Frouke-VMM-036 | 103)PF1_1.15_7_Soil |  |  | 6275.731 |  | 0.379 | Soil |  | 2891.4326 | 0 | 0 |  |  |  | -0.015933 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-037 | 104)PF1_1.15_8_Soil | 4.07 | 58.181 | 5565.974 | 8.798 | 0.333 | Soil |  | 2564.4246 | 340.6568 | 0.34066 |  |  |  | 0.32472 | FALSE | <LOQ | 66.1298 | 387.198 | 0.3872 |  | -0.40368
|  | 250228-Frouke-VMM-038 | 105)PF1_1.19_1_Soil | 4.05 | 134.206 | 5796.018 | 27.828 | 0.3158 | Soil |  | 2670.4133 | 795.7036 | 0.7957 |  |  |  | 0.77977 | TRUE | 0.77977 | 48.227 | 285.9363 | 0.28594 |  | -0.85458
|  | 250228-Frouke-VMM-039 | 106)PF1_1.19_2_Soil | 4.12 | 84.997 | 5972.084 | 12.591 | 0.4012 | Soil |  | 2751.5326 | 384.9799 | 0.38498 |  |  |  | 0.36905 | TRUE | 0.36905 | 67.5062 | 305.758 | 0.30576 |  | -0.76632
|  | 250228-Frouke-VMM-040 | 107)PF1_1.19_3_Soil | 4.1 | 92.763 | 5798.709 | 13.692 | 0.3825 | Soil |  | 2671.6531 | 453.8719 | 0.45387 |  |  |  | 0.43794 | TRUE | 0.43794 | 67.7498 | 331.4869 | 0.33149 |  | -0.65175
|  | 250228-Frouke-VMM-041 | 108)PF1_1.19_4_Soil | 4.11 | 106.498 | 6176.318 | 20.344 | 0.3704 | Soil |  | 2845.6298 | 505.1985 | 0.5052 |  |  |  | 0.48927 | TRUE | 0.48927 | 52.3486 | 248.328 | 0.24833 |  | -1.022
|  | 250228-Frouke-VMM-042 | 109)PF1_1.19_5_Soil | 4.08 | 85.954 | 5989.989 | 16.161 | 0.27 | Soil |  | 2759.782 | 576.7632 | 0.57676 |  |  |  | 0.56083 | TRUE | 0.56083 | 53.1861 | 356.8858 | 0.35689 |  | -0.41801
|  | 250228-Frouke-VMM-043 | 110)PF1_1.19_6_Soil | 4.11 | 115.758 | 6312.704 | 10.798 | 0.3424 | Soil |  | 2908.4673 | 581.1966 | 0.5812 |  |  |  | 0.56526 | TRUE | 0.56526 | 107.2032 | 538.2447 | 0.53824 |  | -0.066098
|  | 250228-Frouke-VMM-044 | 111)PF1_1.19_7_Soil | 4.11 | 105.084 | 6052.45 | 18.416 | 0.8 | Soil |  | 2788.5598 | 235.5248 | 0.23552 |  |  |  | 0.21959 | TRUE | 0.21959 | 57.0613 | 127.8914 | 0.12789 |  | -0.86236
|  | 250228-Frouke-VMM-045 | 112)PF1_1.19_8_Soil | 4.07 | 113.074 | 6520.946 | 10.89 | 0.2875 | Soil |  | 3004.4111 | 654.539 | 0.65454 |  |  |  | 0.63861 | TRUE | 0.63861 | 103.8329 | 601.0459 | 0.60105 |  | 0.055763
|  | 250228-Frouke-VMM-046 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-047 | BL3_Soil | 4.1 | 69.417 | 6449.707 | 15.749 | 7.82 | Soil |  | 2971.589 | 14.9362 | 0.014936 |  |  |  | -0.00099653 | TRUE | -0.00099653 | 44.0771 | 9.4839 | 0.0094839 |  | -2.0856
|  | 250228-Frouke-VMM-048 | BL4_Biota |  |  | 1174.058 |  | 7.82 | Biota |  | 540.9266 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-049 | 113)PF1_1.3_1_Pea | 4.1 | 21.062 | 4511.78 | 6.12 | 0.4134 | Biota |  | 2078.7232 | 122.5469 | 0.12255 |  |  |  | 0.12255 | FALSE | <LOQ | 34.415 | 200.2401 | 0.20024 |  | -0.72197
|  | 250228-Frouke-VMM-050 | 114)PF1_1.3_2_Pea | 4.01 | 44.67 | 4016.334 | 6.707 | 0.3274 | Biota |  | 1850.4552 | 368.6623 | 0.36866 |  |  |  | 0.36866 | FALSE | <LOQ | 66.6021 | 549.6679 | 0.54967 |  | -0.043932
|  | 250228-Frouke-VMM-051 | 115)PF1_1.3_3_Pea |  |  | 3616.337 |  | 0.4334 | Biota |  | 1666.1636 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-052 | 116)PF1_1.3_4_Pea |  |  | 3211.803 |  | 0.4116 | Biota |  | 1479.7817 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-053 | 117)PF1_1.3_5_Pea |  |  | 4863.39 |  | 0.5742 | Biota |  | 2240.7213 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-054 | 118)PF1_1.3_6_Pea | 3.91 | 38.528 | 4186.003 | 8.882 | 0.6429 | Biota |  | 1928.6272 | 155.3656 | 0.15537 |  |  |  | 0.15537 | FALSE | <LOQ | 43.3776 | 174.9218 | 0.17492 |  | -0.7711
|  | 250228-Frouke-VMM-055 | 119)PF1_1.3_7_Pea |  |  | 4478.262 |  | 0.4066 | Biota |  | 2063.2804 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-056 | 120)PF1_1.3_8_Pea | 3.96 | 31.191 | 3146.517 | 5.583 | 0.4092 | Biota |  | 1449.7023 | 262.8965 | 0.2629 |  |  |  | 0.2629 | FALSE | <LOQ | 55.8678 | 470.8876 | 0.47089 |  | -0.1968
|  | 250228-Frouke-VMM-057 | 121)PF1_1.7_1_Pea | 3.97 | 56.141 | 3602.85 | 11.593 | 0.3227 | Biota |  | 1659.9497 | 524.0301 | 0.52403 |  |  |  | 0.52403 | TRUE | 0.52403 | 48.4266 | 452.0229 | 0.45202 |  | -0.2334
|  | 250228-Frouke-VMM-058 | 122)PF1_1.7_2_Pea |  |  | 3854.823 |  | 0.3409 | Biota |  | 1776.0419 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-059 | 123)PF1_1.7_3_Pea | 3.92 | 32.361 | 3438.083 | 5.803 | 0.5175 | Biota |  | 1584.0362 | 197.3861 | 0.19739 |  |  |  | 0.19739 | FALSE | <LOQ | 55.766 | 340.1449 | 0.34014 |  | -0.4505
|  | 250228-Frouke-VMM-060 | 124)PF1_1.7_4_Pea |  |  | 3548.765 |  | 0.491 | Biota |  | 1635.031 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-061 | 125)PF1_1.7_5_Pea | 3.98 | 41.408 | 4125.758 | 4.818 | 0.3396 | Biota |  | 1900.8704 | 320.7259 | 0.32073 |  |  |  | 0.32073 | FALSE | <LOQ | 85.9444 | 665.6827 | 0.66568 |  | 0.18119
|  | 250228-Frouke-VMM-062 | 126)PF1_1.7_6_Pea | 4 | 38.365 | 3969.748 | 3.666 | 0.485 | Biota |  | 1828.9915 | 216.2478 | 0.21625 |  |  |  | 0.21625 | FALSE | <LOQ | 104.6508 | 589.8741 | 0.58987 |  | 0.034084
|  | 250228-Frouke-VMM-063 | 127)PF1_1.7_7_Pea |  |  | 3361.158 |  | 0.3255 | Biota |  | 1548.5944 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-064 | 128)PF1_1.7_8_Pea |  |  | 2619.677 |  | 0.3561 | Biota |  | 1206.9701 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-065 | 129)PF1_1.11_1_Pea | 4.05 | 21.778 | 3839.962 | 5.596 | 0.4644 | Biota |  | 1769.1949 | 132.5318 | 0.13253 |  |  |  | 0.13253 | FALSE | <LOQ | 38.9171 | 236.8331 | 0.23683 |  | -0.65096
|  | 250228-Frouke-VMM-066 | 130)PF1_1.11_2_Pea |  |  | 3369.913 |  | 0.4502 | Biota |  | 1552.6281 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-067 | 131)PF1_1.11_3_Pea | 3.96 | 23.594 | 3258.769 | 7.276 | 0.3613 | Biota |  | 1501.4205 | 217.471 | 0.21747 |  |  |  | 0.21747 | FALSE | <LOQ | 32.4272 | 298.8881 | 0.29889 |  | -0.53055
|  | 250228-Frouke-VMM-068 | 132)PF1_1.11_4_Pea | 3.91 | 28.555 | 3816.985 | 4.299 | 0.488 | Biota |  | 1758.6087 | 166.3655 | 0.16637 |  |  |  | 0.16637 | FALSE | <LOQ | 66.4224 | 386.9864 | 0.38699 |  | -0.3596
|  | 250228-Frouke-VMM-069 | 132a)PF1_1.11_4_Pea | 3.92 | 30.6 | 4638.946 | 6.328 | 0.4695 | Biota |  | 2137.3127 | 152.4712 | 0.15247 |  |  |  | 0.15247 | FALSE | <LOQ | 48.3565 | 240.9469 | 0.24095 |  | -0.64298
|  | 250228-Frouke-VMM-070 | 132b)PF1_1.11_4_Pea | 3.99 | 29.448 | 3383.074 | 5.658 | 0.4937 | Biota |  | 1558.6918 | 191.3385 | 0.19134 |  |  |  | 0.19134 | FALSE | <LOQ | 52.0467 | 338.1734 | 0.33817 |  | -0.45432
|  | 250228-Frouke-VMM-071 | BL5_Biota |  |  | 3343.321 |  | 7.82 | Biota |  | 1540.3763 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-072 | 133)PF1_1.11_5_Pea | 4 | 46.968 | 3978.374 | 7.28 | 0.4047 | Biota |  | 1832.9658 | 316.5808 | 0.31658 |  |  |  | 0.31658 | FALSE | <LOQ | 64.5165 | 434.8637 | 0.43486 |  | -0.2667
|  | 250228-Frouke-VMM-073 | 134)PF1_1.11_6_Pea | 3.93 | 31.202 | 4346.104 | 4.59 | 0.43 | Biota |  | 2002.3909 | 181.1904 | 0.18119 |  |  |  | 0.18119 | FALSE | <LOQ | 67.9782 | 394.7503 | 0.39475 |  | -0.34454
|  | 250228-Frouke-VMM-074 | 135)PF1_1.11_7_Pea | 3.93 | 22.302 | 3890.334 | 4.669 | 0.2224 | Biota |  | 1792.4029 | 279.7328 | 0.27973 |  |  |  | 0.27973 | FALSE | <LOQ | 47.7661 | 599.1279 | 0.59913 |  | 0.052041
|  | 250228-Frouke-VMM-075 | 136)PF1_1.11_8_Pea | 4.02 | 39.443 | 4549.375 | 8.591 | 0.7222 | Biota |  | 2096.0445 | 130.2813 | 0.13028 |  |  |  | 0.13028 | FALSE | <LOQ | 45.912 | 151.6485 | 0.15165 |  | -0.81626
|  | 250228-Frouke-VMM-076 | 137)PF1_1.15_1_Pea | 3.93 | 24.142 | 2992.508 | 5.138 | 0.1915 | Biota |  | 1378.7454 | 457.1833 | 0.45718 |  |  |  | 0.45718 | FALSE | <LOQ | 46.9872 | 889.808 | 0.88981 |  | 0.61608
|  | 250228-Frouke-VMM-077 | 138)PF1_1.15_2_Pea | 4 | 27.025 | 4082.695 | 3.507 | 0.3103 | Biota |  | 1881.0299 | 231.5039 | 0.2315 |  |  |  | 0.2315 | FALSE | <LOQ | 77.0602 | 660.1194 | 0.66012 |  | 0.17039
|  | 250228-Frouke-VMM-078 | 139)PF1_1.15_3_Pea |  |  | 3454.623 |  | 0.3802 | Biota |  | 1591.6567 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-079 | 140)PF1_1.15_4_Pea | 3.93 | 15.301 | 2893.815 | 2.245 | 0.2105 | Biota |  | 1333.2743 | 272.5952 | 0.2726 |  |  |  | 0.2726 | FALSE | <LOQ | 68.1559 | 1214.2325 | 1.2142 |  | 1.2456
|  | 250228-Frouke-VMM-080 | 141)PF1_1.15_5_Pea | 4.02 | 22.593 | 3659.612 | 2.824 | 0.3772 | Biota |  | 1686.1018 | 177.6186 | 0.17762 |  |  |  | 0.17762 | FALSE | <LOQ | 80.0035 | 628.961 | 0.62896 |  | 0.10993
|  | 250228-Frouke-VMM-081 | 142)PF1_1.15_6_Pea | 3.97 | 28.051 | 3827.486 | 7.85 | 0.1801 | Biota |  | 1763.4468 | 441.6134 | 0.44161 |  |  |  | 0.44161 | FALSE | <LOQ | 35.7338 | 562.5649 | 0.56256 |  | -0.018907
|  | 250228-Frouke-VMM-082 | 143)PF1_1.15_7_Pea |  |  | 2523.975 |  | 0.2517 | Biota |  | 1162.8771 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-083 | 144)PF1_1.15_8_Pea |  |  | 3394.824 |  | 0.3189 | Biota |  | 1564.1054 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-084 | 145)PF1_1.19_1_Pea | 4.07 | 41.615 | 3699.096 | 5.007 | 0.4025 | Biota |  | 1704.2934 | 303.326 | 0.30333 |  |  |  | 0.30333 | FALSE | <LOQ | 83.1136 | 605.8039 | 0.6058 |  | #DIV/0!
|  | 250228-Frouke-VMM-085 | 146)PF1_1.19_2_Pea | 3.95 | 9.132 | 2069.852 | 1.312 | 0.5179 | Biota |  | 953.6479 | 92.4489 | 0.092449 |  |  |  | 0.092449 | FALSE | <LOQ | 69.6037 | 704.6413 | 0.70464 |  | #DIV/0!
|  | 250228-Frouke-VMM-086 | 147)PF1_1.19_3_Pea |  |  | 2848.803 |  | 0.4863 | Biota |  | 1312.5358 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-087 | 148)PF1_1.19_4_Pea | 3.93 | 10.663 | 3203.696 | 2.232 | 0.335 | Biota |  | 1476.0465 | 107.8213 | 0.10782 |  |  |  | 0.10782 | FALSE | <LOQ | 47.7733 | 483.0703 | 0.48307 |  | #DIV/0!
|  | 250228-Frouke-VMM-088 | 149)PF1_1.19_5_Pea | 3.96 | 22.856 | 3839.677 | 3.98 | 0.5274 | Biota |  | 1769.0636 | 122.4861 | 0.12249 |  |  |  | 0.12249 | FALSE | <LOQ | 57.4271 | 307.7539 | 0.30775 |  | #DIV/0!
|  | 250228-Frouke-VMM-089 | 150)PF1_1.19_6_Pea |  |  | 4308.641 |  | 0.3213 | Biota |  | 1985.1305 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-090 | 151)PF1_1.19_7_Pea | 3.95 | 43.211 | 4355.125 | 5.961 | 0.501 | Biota |  | 2006.5472 | 214.9202 | 0.21492 |  |  |  | 0.21492 | FALSE | <LOQ | 72.4895 | 360.5439 | 0.36054 |  | #DIV/0!
|  | 250228-Frouke-VMM-091 | 152)PF1_1.19_8_Pea | 3.93 | 14.55 | 1592.637 | 4.6 | 0.3163 | Biota |  | 733.7795 | 313.45 | 0.31345 |  |  |  | 0.31345 | FALSE | <LOQ | 31.6304 | 681.413 | 0.68141 |  | #DIV/0!
|  | 250228-Frouke-VMM-092 | 152a)PF1_1.19_8_Pea |  |  | 3536.46 |  | 0.153 | Biota |  | 1629.3617 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-093 | 152b)PF1_1.19_8_Pea | 3.96 | 42.278 | 3350.857 | 7.209 | 0.0639 | Biota |  | 1543.8484 | 2142.7867 | 2.1428 |  |  |  | 2.1428 | FALSE | <LOQ | 58.6461 | 2972.3771 | 2.9724 |  | #DIV/0!
|  | 250228-Frouke-VMM-094 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-095 | BL6_Biota |  |  | 3297.021 |  | 7.82 | Biota |  | 1519.0444 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## PFOS
PFOS | #N/A |  | 5
verwijzing
automatisch
exporteren
zelf berekenen
#REF!
[10 empty] | Correct for ISTD |  | Concentration (uncorrected) |  | Correct for contamination |  |  | BL corrected concentration |  |  | LOQ calculations
[7 empty] | S/N | Weight | Matrix | corr factor | corr IS area | conc (pg/g) | conc (µg/kg) | gem. conc pb (µg/kg) |  |  | CORR concentratie (µg/kg) | Tussenstap | CORR concentratie (µg/kg) | Area if S/N = 10 | LOQ (pg/g) | LOQ (µg/kg) | gem LOQ Soil | Z-score |  | corrected average LOQ Soil | corrected average LOQ Biota | corrected average LOQ
|  | 250228-Frouke-VMM-096 | BL1_Biota |  |  | 5790.211 |  | 7.82 | Soil | 0.93541 | 5416.2271 | 0 | 0 | Soil | Biota |  | -0.0030969 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.27292 | #DIV/0! | mean | 0.22787 | 0.078427 | #DIV/0!
|  | 250228-Frouke-VMM-097 | 73)PF1_1.3_1_Soil | 4.63 | 23.312 | 777.922 | 14.32 | 0.327 | Soil |  | 727.6768 | 489.8502 | 0.48985 | 0.0030969 | 0.0020844 | #DIV/0! | 0.48675 | TRUE | 0.48675 | 16.2793 | 342.0741 | 0.34207 | stdev loq Soil | 0.28752 | stdev | 0.15377 | 0.038715 | #DIV/0!
|  | 250228-Frouke-VMM-098 | 74)PF1_1.3_2_Soil | 4.66 | 41.143 | 673.295 | 9.186 | 0.355 | Soil |  | 629.8075 | 920.0888 | 0.92009 |  |  |  | 0.91699 | FALSE | <LOQ | 44.7888 | 1001.6207 | 1.0016 | 0.24054 | 3.0295 | n | 34 | 24 | 4
|  | 250228-Frouke-VMM-099 | 75)PF1_1.3_3_Soil | 4.65 | 21.844 | 686.038 | 8.222 | 0.335 | Soil |  | 641.7275 | 508.0503 | 0.50805 |  |  |  | 0.50495 | FALSE | <LOQ | 26.5677 | 617.9157 | 0.61792 | gem LOQ Biota | 1.4343
|  | 250228-Frouke-VMM-100 | 76)PF1_1.3_4_Soil |  |  | 571.24 |  | 0.332 | Soil |  | 534.3442 | 0 | 0 |  |  |  | -0.0030969 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.078427 | #DIV/0!
|  | 250228-Frouke-VMM-101 | 77)PF1_1.3_5_Soil |  |  | 569.233 |  | 0.364 | Soil |  | 532.4668 | 0 | 0 |  |  |  | -0.0030969 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | stdev loq Biota | #DIV/0!
|  | 250228-Frouke-VMM-102 | 78)PF1_1.3_6_Soil | 4.63 | 20.415 | 548.933 | 6.836 | 0.356 | Soil |  | 513.478 | 558.4028 | 0.5584 |  |  |  | 0.55531 | FALSE | <LOQ | 29.864 | 816.856 | 0.81686 | 0.038715 | 2.2613
|  | 250228-Frouke-VMM-103 | 79)PF1_1.3_7_Soil | 4.61 | 26.492 | 608.394 | 7.047 | 0.307 | Soil |  | 569.0984 | 758.1567 | 0.75816 |  |  |  | 0.75506 | FALSE | <LOQ | 37.5933 | 1075.8574 | 1.0759 | gem LOQ | 3.3381
|  | 250228-Frouke-VMM-104 | 80)PF1_1.3_8_Soil |  |  | 711.573 |  | 0.3453 | Soil |  | 665.6132 | 0 | 0 |  |  |  | -0.0030969 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 250228-Frouke-VMM-105 | 81)PF1_1.7_1_Soil | 4.64 | 30453.537 | 4731.866 | 4397.561 | 0.333 | Soil |  | 4426.2395 | 103306.7268 | 103.3067 |  |  |  | 103.3036 | TRUE | 103.3036 | 69.251 | 234.9182 | 0.23492 | stdev loq | -0.15797
|  | 250228-Frouke-VMM-106 | 82)PF1_1.7_2_Soil | 4.64 | 26842.24 | 4486.01 | 5972.275 | 0.327 | Soil |  | 4196.2631 | 97808.8824 | 97.8089 |  |  |  | 97.8058 | TRUE | 97.8058 | 44.9447 | 163.7716 | 0.16377 | #DIV/0! | -0.45375
|  | 250228-Frouke-VMM-107 | 83)PF1_1.7_3_Soil | 4.64 | 23283.809 | 4710.957 | 4132.265 | 0.363 | Soil |  | 4406.681 | 72778.9515 | 72.779 |  |  |  | 72.7759 | TRUE | 72.7759 | 56.3464 | 176.1236 | 0.17612 |  | -0.4024
|  | 250228-Frouke-VMM-108 | 84)PF1_1.7_4_Soil | 4.64 | 31756.197 | 4414.591 | 8028.721 | 0.316 | Soil |  | 4129.457 | 121679.7932 | 121.6798 |  |  |  | 121.6767 | TRUE | 121.6767 | 39.5532 | 151.5556 | 0.15156 |  | -0.50454
|  | 250228-Frouke-VMM-109 | 85)PF1_1.7_5_Soil | 4.66 | 21410.842 | 4588.089 | 3368.174 | 0.338 | Soil |  | 4291.7489 | 73799.3853 | 73.7994 |  |  |  | 73.7963 | TRUE | 73.7963 | 63.5681 | 219.108 | 0.21911 |  | -0.2237
|  | 250228-Frouke-VMM-110 | 86)PF1_1.7_6_Soil | 4.65 | 18318.977 | 4702.625 | 2390.483 | 0.302 | Soil |  | 4398.8872 | 68947.9658 | 68.948 |  |  |  | 68.9449 | TRUE | 68.9449 | 76.633 | 288.4269 | 0.28843 |  | 0.064486
|  | 250228-Frouke-VMM-111 | 87)PF1_1.7_7_Soil | 4.65 | 20530.959 | 4524.054 | 1656.87 | 0.322 | Soil |  | 4231.8499 | 75334.3622 | 75.3344 |  |  |  | 75.3313 | TRUE | 75.3313 | 123.9141 | 454.6788 | 0.45468 |  | 0.75565
|  | 250228-Frouke-VMM-112 | 88)PF1_1.7_8_Soil | 4.66 | 25259.156 | 4495.765 | 3984.604 | 0.368 | Soil |  | 4205.388 | 81608.4156 | 81.6084 |  |  |  | 81.6053 | TRUE | 81.6053 | 63.3919 | 204.8094 | 0.20481 |  | -0.28314
|  | 250228-Frouke-VMM-113 | 89)PF1_1.11_1_Soil | 4.66 | 24924.908 | 3543.138 | 4511.046 | 0.3496 | Soil |  | 3314.2903 | 107557.724 | 107.5577 |  |  |  | 107.5546 | TRUE | 107.5546 | 55.2531 | 238.4319 | 0.23843 |  | -0.14336
|  | 250228-Frouke-VMM-114 | 90)PF1_1.11_2_Soil | 4.65 | 18565.299 | 4932.032 | 2791.621 | 0.3134 | Soil |  | 4613.477 | 64201.4153 | 64.2014 |  |  |  | 64.1983 | TRUE | 64.1983 | 66.5037 | 229.979 | 0.22998 |  | -0.1785
|  | 250228-Frouke-VMM-115 | 91)PF1_1.11_3_Soil | 4.67 | 19406.424 | 4437.596 | 2975.174 | 0.3538 | Soil |  | 4150.9761 | 66070.4793 | 66.0705 |  |  |  | 66.0674 | TRUE | 66.0674 | 65.2279 | 222.0727 | 0.22207 |  | -0.21137
|  | 250228-Frouke-VMM-116 | 92)PF1_1.11_4_Soil | 4.65 | 19901.527 | 4468.827 | 4004.863 | 0.3732 | Soil |  | 4180.1899 | 63785.0286 | 63.785 |  |  |  | 63.7819 | TRUE | 63.7819 | 49.6934 | 159.2689 | 0.15927 |  | -0.47247
|  | 250228-Frouke-VMM-117 | BL2_Soil | 4.6 | 40.879 | 5087.72 | 9.297 | 7.82 | Soil |  | 4759.1093 | 5.4921 | 0.0054921 |  |  |  | 0.0023952 | FALSE | <LOQ | 43.9701 | 5.9074 | 0.0059074 |  | -1.11
|  | 250228-Frouke-VMM-118 | 93)PF1_1.11_5_Soil | 4.67 | 20590.121 | 4801.165 | 2150.538 | 0.302 | Soil |  | 4491.0626 | 75905.4319 | 75.9054 |  |  |  | 75.9023 | TRUE | 75.9023 | 95.744 | 352.9602 | 0.35296 |  | 0.33277
|  | 250228-Frouke-VMM-119 | 94)PF1_1.11_6_Soil | 4.66 | 25034.766 | 5016.854 | 3135.337 | 0.366 | Soil |  | 4692.8204 | 72878.3481 | 72.8783 |  |  |  | 72.8753 | TRUE | 72.8753 | 79.8471 | 232.4418 | 0.23244 |  | -0.16826
|  | 250228-Frouke-VMM-120 | 95)PF1_1.11_7_Soil | 4.67 | 17368.898 | 3732.942 | 3685.501 | 0.3567 | Soil |  | 3491.835 | 69724.5058 | 69.7245 |  |  |  | 69.7214 | TRUE | 69.7214 | 47.1276 | 189.186 | 0.18919 |  | -0.34809
|  | 250228-Frouke-VMM-121 | 96)PF1_1.11_8_Soil | 4.67 | 23217.996 | 5190.315 | 2895.273 | 0.3676 | Soil |  | 4855.0777 | 65046.367 | 65.0464 |  |  |  | 65.0433 | TRUE | 65.0433 | 80.1928 | 224.664 | 0.22466 |  | -0.2006
|  | 250228-Frouke-VMM-122 | 97)PF1_1.15_1_Soil | 4.67 | 4709.773 | 4955.696 | 399.371 | 0.3813 | Soil |  | 4635.6126 | 13322.8165 | 13.3228 |  |  |  | 13.3197 | TRUE | 13.3197 | 117.9298 | 333.595 | 0.33359 |  | 0.25227
|  | 250228-Frouke-VMM-123 | 98)PF1_1.15_2_Soil | 4.65 | 4176.847 | 4670.367 | 1112.584 | 0.394 | Soil |  | 4368.7127 | 12133.0187 | 12.133 |  |  |  | 12.1299 | TRUE | 12.1299 | 37.5419 | 109.0526 | 0.10905 |  | -0.68124
|  | 250228-Frouke-VMM-124 | 99)PF1_1.15_3_Soil | 4.67 | 2097.278 | 4929.741 | 434.429 | 0.393 | Soil |  | 4611.334 | 5786.379 | 5.7864 |  |  |  | 5.7833 | TRUE | 5.7833 | 48.2767 | 133.195 | 0.1332 |  | -0.58087
|  | 250228-Frouke-VMM-125 | 100)PF1_1.15_4_Soil | 4.67 | 3263.269 | 4960.844 | 740.688 | 0.318 | Soil |  | 4640.428 | 11057.0104 | 11.057 |  |  |  | 11.0539 | TRUE | 11.0539 | 44.0573 | 149.2803 | 0.14928 |  | -0.51399
|  | 250228-Frouke-VMM-126 | 101)PF1_1.15_5_Soil | 4.67 | 4136.783 | 4876.319 | 774.96 | 0.356 | Soil |  | 4561.3624 | 12737.6164 | 12.7376 |  |  |  | 12.7345 | TRUE | 12.7345 | 53.3806 | 164.3648 | 0.16436 |  | -0.45128
|  | 250228-Frouke-VMM-127 | 102)PF1_1.15_6_Soil | 4.67 | 6024.842 | 4732.829 | 2011.081 | 0.3946 | Soil |  | 4427.1403 | 17243.8922 | 17.2439 |  |  |  | 17.2408 | TRUE | 17.2408 | 29.9582 | 85.7444 | 0.085744 |  | -0.77814
|  | 250228-Frouke-VMM-128 | 103)PF1_1.15_7_Soil | 4.66 | 1467.073 | 4919.585 | 328.69 | 0.379 | Soil |  | 4601.8339 | 4205.8287 | 4.2058 |  |  |  | 4.2027 | TRUE | 4.2027 | 44.6339 | 127.9573 | 0.12796 |  | -0.60264
|  | 250228-Frouke-VMM-129 | 104)PF1_1.15_8_Soil | 4.67 | 8507.378 | 4680.934 | 2839.96 | 0.333 | Soil |  | 4378.5972 | 29173.364 | 29.1734 |  |  |  | 29.1703 | TRUE | 29.1703 | 29.956 | 102.7246 | 0.10272 |  | -0.70754
|  | 250228-Frouke-VMM-130 | 105)PF1_1.19_1_Soil | 4.65 | 10151.602 | 4976.518 | 3146.287 | 0.3158 | Soil |  | 4655.0897 | 34527.4424 | 34.5274 |  |  |  | 34.5243 | TRUE | 34.5243 | 32.2653 | 109.7403 | 0.10974 |  | -0.67838
|  | 250228-Frouke-VMM-131 | 106)PF1_1.19_2_Soil | 4.67 | 11271.412 | 5008.373 | 2466.614 | 0.4012 | Soil |  | 4684.8872 | 29983.9101 | 29.9839 |  |  |  | 29.9808 | TRUE | 29.9808 | 45.6959 | 121.559 | 0.12156 |  | -0.62924
|  | 250228-Frouke-VMM-132 | 107)PF1_1.19_3_Soil | 4.67 | 10205.345 | 5196.334 | 1784.866 | 0.3825 | Soil |  | 4860.708 | 27445.2205 | 27.4452 |  |  |  | 27.4421 | TRUE | 27.4421 | 57.1771 | 153.7663 | 0.15377 |  | -0.49534
|  | 250228-Frouke-VMM-133 | 108)PF1_1.19_4_Soil | 4.67 | 10043.098 | 4885.624 | 1950.312 | 0.3704 | Soil |  | 4570.0664 | 29664.9905 | 29.665 |  |  |  | 29.6619 | TRUE | 29.6619 | 51.4948 | 152.1038 | 0.1521 |  | -0.50226
|  | 250228-Frouke-VMM-134 | 109)PF1_1.19_5_Soil | 4.67 | 6340.623 | 5030.278 | 1872.343 | 0.27 | Soil |  | 4705.3774 | 24954.2035 | 24.9542 |  |  |  | 24.9511 | TRUE | 24.9511 | 33.8646 | 133.2779 | 0.13328 |  | -0.58052
|  | 250228-Frouke-VMM-135 | 110)PF1_1.19_6_Soil | 4.67 | 7433.644 | 4820.191 | 1174.601 | 0.3424 | Soil |  | 4508.8597 | 24075.2767 | 24.0753 |  |  |  | 24.0722 | TRUE | 24.0722 | 63.2865 | 204.9656 | 0.20497 |  | -0.28249
|  | 250228-Frouke-VMM-136 | 111)PF1_1.19_7_Soil | 4.67 | 7734.879 | 5033.699 | 1281.756 | 0.8 | Soil |  | 4708.5774 | 10267.0062 | 10.267 |  |  |  | 10.2639 | TRUE | 10.2639 | 60.346 | 80.1011 | 0.080101 |  | -0.8016
|  | 250228-Frouke-VMM-137 | 112)PF1_1.19_8_Soil | 4.67 | 3692.211 | 2876.78 | 583.591 | 0.2875 | Soil |  | 2690.9717 | 23862.1485 | 23.8621 |  |  |  | 23.8591 | TRUE | 23.8591 | 63.2671 | 408.8848 | 0.40888 |  | 0.56527
|  | 250228-Frouke-VMM-138 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-139 | BL3_Soil | 4.67 | 30.417 | 5473.445 | 13.296 | 7.82 | Soil |  | 5119.9207 | 3.7985 | 0.0037985 |  |  |  | 0.00070166 | TRUE | 0.00070166 | 22.8768 | 2.8569 | 0.0028569 |  | -1.1227
|  | 250228-Frouke-VMM-140 | BL4_Biota | 4.64 | 12.691 | 1387.235 | 3.171 | 7.82 | Biota |  | 1297.6349 | 6.2533 | 0.0062533 |  |  |  | 0.0041688 | FALSE | <LOQ | 40.0221 | 19.7202 | 0.01972 |  | -1.5164
|  | 250228-Frouke-VMM-141 | 113)PF1_1.3_1_Pea |  |  | 4248.833 |  | 0.4134 | Biota |  | 3974.4051 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-142 | 114)PF1_1.3_2_Pea |  |  | 3931.177 |  | 0.3274 | Biota |  | 3677.2662 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-143 | 115)PF1_1.3_3_Pea |  |  | 3256.517 |  | 0.4334 | Biota |  | 3046.1818 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-144 | 116)PF1_1.3_4_Pea |  |  | 3362.17 |  | 0.4116 | Biota |  | 3145.0108 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-145 | 117)PF1_1.3_5_Pea | 4.61 | 17.805 | 4735.366 | 3.894 | 0.5742 | Biota |  | 4429.5134 | 35.002 | 0.035002 |  |  |  | 0.032918 | FALSE | <LOQ | 45.7242 | 89.887 | 0.089887 |  | 0.296
|  | 250228-Frouke-VMM-146 | 118)PF1_1.3_6_Pea |  |  | 4518.203 |  | 0.6429 | Biota |  | 4226.3768 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-147 | 119)PF1_1.3_7_Pea | 4.56 | 9.616 | 3832.553 | 6.05 | 0.4066 | Biota |  | 3585.0122 | 32.9842 | 0.032984 |  |  |  | 0.0309 | FALSE | <LOQ | 15.8942 | 54.5194 | 0.054519 |  | -0.61753
|  | 250228-Frouke-VMM-148 | 120)PF1_1.3_8_Pea |  |  | 3168.88 |  | 0.4092 | Biota |  | 2964.2052 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-149 | 121)PF1_1.7_1_Pea | 4.61 | 7.838 | 3302.805 | 6.757 | 0.3227 | Biota |  | 3089.4801 | 39.3089 | 0.039309 |  |  |  | 0.037224 | FALSE | <LOQ | 11.5998 | 58.1751 | 0.058175 |  | -0.52311
|  | 250228-Frouke-VMM-150 | 122)PF1_1.7_2_Pea | 4.58 | 10.926 | 4028.902 | 6.509 | 0.3409 | Biota |  | 3768.6792 | 42.5221 | 0.042522 |  |  |  | 0.040438 | FALSE | <LOQ | 16.786 | 65.3282 | 0.065328 |  | -0.33835
|  | 250228-Frouke-VMM-151 | 123)PF1_1.7_3_Pea | 4.63 | 15.101 | 3561.38 | 7.875 | 0.5175 | Biota |  | 3331.354 | 43.797 | 0.043797 |  |  |  | 0.041713 | FALSE | <LOQ | 19.1759 | 55.6153 | 0.055615 |  | -0.58923
|  | 250228-Frouke-VMM-152 | 124)PF1_1.7_4_Pea | 4.64 | 10.482 | 3209.254 | 6.73 | 0.491 | Biota |  | 3001.9715 | 35.5571 | 0.035557 |  |  |  | 0.033473 | FALSE | <LOQ | 15.575 | 52.8337 | 0.052834 |  | -0.66107
|  | 250228-Frouke-VMM-153 | 125)PF1_1.7_5_Pea | 4.6 | 9.581 | 3877.698 | 3.709 | 0.3396 | Biota |  | 3627.2414 | 38.8899 | 0.03889 |  |  |  | 0.036805 | FALSE | <LOQ | 25.8318 | 104.8528 | 0.10485 |  | 0.68256
|  | 250228-Frouke-VMM-154 | 126)PF1_1.7_6_Pea |  |  | 3713.656 |  | 0.485 | Biota |  | 3473.7947 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-155 | 127)PF1_1.7_7_Pea | 4.61 | 15.672 | 3350.824 | 8.251 | 0.3255 | Biota |  | 3134.3976 | 76.805 | 0.076805 |  |  |  | 0.074721 | FALSE | <LOQ | 18.9941 | 93.0857 | 0.093086 |  | 0.37862
|  | 250228-Frouke-VMM-156 | 128)PF1_1.7_8_Pea |  |  | 2611.549 |  | 0.3561 | Biota |  | 2442.8717 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-157 | 129)PF1_1.11_1_Pea |  |  | 3444.905 |  | 0.4644 | Biota |  | 3222.402 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-158 | 130)PF1_1.11_2_Pea | 4.64 | 7.106 | 3647.348 | 9.137 | 0.4502 | Biota |  | 3411.7694 | 23.1318 | 0.023132 |  |  |  | 0.021047 | FALSE | <LOQ | 7.7772 | 25.3167 | 0.025317 |  | -1.3718
|  | 250228-Frouke-VMM-159 | 131)PF1_1.11_3_Pea |  |  | 3445.75 |  | 0.3613 | Biota |  | 3223.1925 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-160 | 132)PF1_1.11_4_Pea | 4.61 | 10.197 | 4417.217 | 9.808 | 0.488 | Biota |  | 4131.9134 | 25.2855 | 0.025285 |  |  |  | 0.023201 | FALSE | <LOQ | 10.3966 | 25.7805 | 0.02578 |  | -1.3598
|  | 250228-Frouke-VMM-161 | 132a)PF1_1.11_4_Pea | 4.61 | 156.648 | 4093.731 | 50.936 | 0.4695 | Biota |  | 3829.321 | 435.6498 | 0.43565 |  |  |  | 0.43357 | TRUE | 0.43357 | 30.7539 | 85.5289 | 0.085529 |  | 0.18343
|  | 250228-Frouke-VMM-162 | 132b)PF1_1.11_4_Pea | 4.61 | 32.662 | 3266.851 | 10.299 | 0.4937 | Biota |  | 3055.8484 | 108.2475 | 0.10825 |  |  |  | 0.10616 | TRUE | 0.10616 | 31.7138 | 105.1049 | 0.1051 |  | 0.68907
|  | 250228-Frouke-VMM-163 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-164 | BL5_Biota |  |  | 3705.785 |  | 7.82 | Biota |  | 3466.4321 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-165 | 133)PF1_1.11_5_Pea |  |  | 3964.734 |  | 0.4047 | Biota |  | 3708.6558 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-166 | 134)PF1_1.11_6_Pea | 4.57 | 11.113 | 4526.473 | 6.293 | 0.43 | Biota |  | 4234.1126 | 30.519 | 0.030519 |  |  |  | 0.028435 | FALSE | <LOQ | 17.6593 | 48.4968 | 0.048497 |  | -0.77309
|  | 250228-Frouke-VMM-167 | 135)PF1_1.11_7_Pea | 4.61 | 16.129 | 3895.182 | 7.642 | 0.2224 | Biota |  | 3643.5961 | 99.5205 | 0.09952 |  |  |  | 0.097436 | FALSE | <LOQ | 21.1057 | 130.2283 | 0.13023 |  | 1.338
|  | 250228-Frouke-VMM-168 | 136)PF1_1.11_8_Pea | 4.6 | 19.665 | 4429.492 | 8.316 | 0.7222 | Biota |  | 4143.3955 | 32.8587 | 0.032859 |  |  |  | 0.030774 | FALSE | <LOQ | 23.6472 | 39.5126 | 0.039513 |  | -1.0052
|  | 250228-Frouke-VMM-169 | 137)PF1_1.15_1_Pea | 4.6 | 7.389 | 3149.684 | 7.946 | 0.1915 | Biota |  | 2946.2491 | 65.4813 | 0.065481 |  |  |  | 0.063397 | FALSE | <LOQ | 9.299 | 82.4079 | 0.082408 |  | 0.10281
|  | 250228-Frouke-VMM-170 | 138)PF1_1.15_2_Pea | 4.67 | 25.028 | 4082.22 | 6.598 | 0.3103 | Biota |  | 3818.5535 | 105.6125 | 0.10561 |  |  |  | 0.10353 | FALSE | <LOQ | 37.9327 | 160.0675 | 0.16007 |  | 2.1087
|  | 250228-Frouke-VMM-171 | 139)PF1_1.15_3_Pea |  |  | 3714.611 |  | 0.3802 | Biota |  | 3474.688 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-172 | 140)PF1_1.15_4_Pea | 4.6 | 11.601 | 3166.816 | 6.817 | 0.2105 | Biota |  | 2962.2745 | 93.0225 | 0.093023 |  |  |  | 0.090938 | FALSE | <LOQ | 17.0177 | 136.4567 | 0.13646 |  | 1.4989
|  | 250228-Frouke-VMM-173 | 141)PF1_1.15_5_Pea | 4.61 | 16.363 | 3840.351 | 8.832 | 0.3772 | Biota |  | 3592.3066 | 60.3793 | 0.060379 |  |  |  | 0.058295 | FALSE | <LOQ | 18.5269 | 68.3642 | 0.068364 |  | -0.25993
|  | 250228-Frouke-VMM-174 | 142)PF1_1.15_6_Pea | 4.64 | 13.814 | 4103.441 | 7.589 | 0.1801 | Biota |  | 3838.4038 | 99.9137 | 0.099914 |  |  |  | 0.097829 | FALSE | <LOQ | 18.2027 | 131.656 | 0.13166 |  | 1.3749
|  | 250228-Frouke-VMM-175 | 143)PF1_1.15_7_Pea |  |  | 2292.484 |  | 0.2517 | Biota |  | 2144.4148 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-176 | 144)PF1_1.15_8_Pea | 4.63 | 9.699 | 3425.843 | 4.397 | 0.3189 | Biota |  | 3204.5712 | 47.454 | 0.047454 |  |  |  | 0.04537 | FALSE | <LOQ | 22.0582 | 107.9235 | 0.10792 |  | 0.76187
|  | 250228-Frouke-VMM-177 | 145)PF1_1.19_1_Pea |  |  | 3718.894 |  | 0.4025 | Biota |  | 3478.6944 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-178 | 146)PF1_1.19_2_Pea |  |  | 2594.635 |  | 0.5179 | Biota |  | 2427.0501 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-179 | 147)PF1_1.19_3_Pea | 4.64 | 13.929 | 3006.055 | 4.848 | 0.4863 | Biota |  | 2811.8969 | 50.9315 | 0.050931 |  |  |  | 0.048847 | FALSE | <LOQ | 28.7314 | 105.0567 | 0.10506 |  | 0.68782
|  | 250228-Frouke-VMM-180 | 148)PF1_1.19_4_Pea |  |  | 3312.807 |  | 0.335 | Biota |  | 3098.8361 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-181 | 149)PF1_1.19_5_Pea | 4.58 | 8.279 | 4004.043 | 6.901 | 0.5274 | Biota |  | 3745.4259 | 20.9559 | 0.020956 |  |  |  | 0.018871 | FALSE | <LOQ | 11.9968 | 30.3665 | 0.030366 |  | -1.2414
|  | 250228-Frouke-VMM-182 | 150)PF1_1.19_6_Pea |  |  | 4237.563 |  | 0.3213 | Biota |  | 3963.863 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-183 | 151)PF1_1.19_7_Pea | 4.61 | 7.202 | 3905.306 | 7.658 | 0.501 | Biota |  | 3653.0662 | 19.6756 | 0.019676 |  |  |  | 0.017591 | FALSE | <LOQ | 9.4045 | 25.6929 | 0.025693 |  | -1.3621
|  | 250228-Frouke-VMM-184 | 152)PF1_1.19_8_Pea |  |  | 1178.882 |  | 0.3163 | Biota |  | 1102.7392 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-185 | 152a)PF1_1.19_8_Pea |  |  | 3756.49 |  | 0.153 | Biota |  | 3513.8621 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-186 | 152b)PF1_1.19_8_Pea |  |  | 2847.397 |  | 0.0639 | Biota |  | 2663.4865 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-187 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-188 | BL6_Biota |  |  | 3473.954 |  | 7.82 | Biota |  | 3249.5748 | 0 | 0 |  |  |  | -0.0020844 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-189 | ACN

## PFDoA
PFDoDA | m-PFDoDA |  | 2.5
verwijzing
automatisch
exporteren
zelf berekenen
#REF!
[10 empty] | Correct for ISTD |  | Concentration (uncorrected) |  | Correct for contamination |  |  | BL corrected concentration |  |  | LOQ calculations
|  | Name | ID | RT | Area | IS Area | S/N | Weight | Matrix | corr factor | corr IS area | conc (pg/g) | conc (µg/kg) | gem. conc pb (µg/kg) |  |  | CORR concentratie (µg/kg) | Tussenstap | CORR concentratie (µg/kg) | Area if S/N = 10 | LOQ (pg/g) | LOQ (µg/kg) | gem LOQ Soil | Z-score |  | corrected average LOQ Soil | corrected average LOQ Biota | corrected average LOQ
|  | 250228-Frouke-VMM-189 | ACN |  |  |  |  | #N/A | #N/A | 0.75894 | 0 | #DIV/0! | #DIV/0! | Soil | Biota |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.16425 | #DIV/0! | mean | 0.16425 | 0.26165 | #DIV/0!
|  | 250228-Frouke-VMM-190 | BL1_Biota |  |  | 2541.787 |  | 7.82 | Soil |  | 1929.072 | 0 | 0 | 0.00085261 | 0 | #DIV/0! | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | stdev loq Soil | #DIV/0! | stdev | 0.13912 | #DIV/0! | #DIV/0!
|  | 250228-Frouke-VMM-191 | 73)PF1_1.3_1_Soil |  |  | 1085.64 |  | 0.327 | Soil |  | 823.9391 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.13912 | #DIV/0! | n | 8 | 23 | 4
|  | 250228-Frouke-VMM-192 | 74)PF1_1.3_2_Soil |  |  | 1017.151 |  | 0.355 | Soil |  | 771.9598 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | gem LOQ Biota | #DIV/0!
|  | 250228-Frouke-VMM-193 | 75)PF1_1.3_3_Soil |  |  | 971.632 |  | 0.335 | Soil |  | 737.4135 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | 0.26165 | #DIV/0!
|  | 250228-Frouke-VMM-194 | 76)PF1_1.3_4_Soil | 1.9 | 12.063 | 1264.604 | 4.792 | 0.332 | Soil |  | 959.7626 | 94.6441 | 0.094644 |  |  |  | 0.093791 | FALSE | <LOQ | 25.1732 | 197.5043 | 0.1975 | stdev loq Biota | 0.23904
|  | 250228-Frouke-VMM-195 | 77)PF1_1.3_5_Soil |  |  | 792.253 |  | 0.364 | Soil |  | 601.275 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 250228-Frouke-VMM-196 | 78)PF1_1.3_6_Soil |  |  | 1034.918 |  | 0.356 | Soil |  | 785.444 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | gem LOQ | #DIV/0!
|  | 250228-Frouke-VMM-197 | 79)PF1_1.3_7_Soil | 1.74 | 18.917 | 711.043 | 5.842 | 0.307 | Soil |  | 539.6412 | 285.4623 | 0.28546 |  |  |  | 0.28461 | FALSE | <LOQ | 32.381 | 488.638 | 0.48864 | #DIV/0! | 2.3318
|  | 250228-Frouke-VMM-198 | 80)PF1_1.3_8_Soil |  |  | 1266.4 |  | 0.3453 | Soil |  | 961.1257 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | stdev loq | #DIV/0!
|  | 250228-Frouke-VMM-199 | 81)PF1_1.7_1_Soil |  |  | 2250.212 |  | 0.333 | Soil |  | 1707.7831 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 250228-Frouke-VMM-200 | 82)PF1_1.7_2_Soil |  |  | 1995.657 |  | 0.327 | Soil |  | 1514.5903 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-201 | 83)PF1_1.7_3_Soil |  |  | 2067.388 |  | 0.363 | Soil |  | 1569.0301 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-202 | 84)PF1_1.7_4_Soil | 1.79 | 23.133 | 2047.273 | 7.487 | 0.316 | Soil |  | 1553.7639 | 117.7877 | 0.11779 |  |  |  | 0.11694 | FALSE | <LOQ | 30.8976 | 157.3229 | 0.15732 |  | -0.0498
|  | 250228-Frouke-VMM-203 | 85)PF1_1.7_5_Soil | 1.79 | 19.224 | 2410.573 | 11.607 | 0.338 | Soil |  | 1829.488 | 77.7208 | 0.077721 |  |  |  | 0.076868 | FALSE | <LOQ | 16.5624 | 66.9603 | 0.06696 |  | -0.69935
|  | 250228-Frouke-VMM-204 | 86)PF1_1.7_6_Soil |  |  | 1800.282 |  | 0.302 | Soil |  | 1366.3118 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-205 | 87)PF1_1.7_7_Soil |  |  | 2173.63 |  | 0.322 | Soil |  | 1649.6617 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-206 | 88)PF1_1.7_8_Soil |  |  | 2147.947 |  | 0.368 | Soil |  | 1630.1698 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-207 | 89)PF1_1.11_1_Soil |  |  | 2146.163 |  | 0.3496 | Soil |  | 1628.8158 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-208 | 90)PF1_1.11_2_Soil |  |  | 2486.424 |  | 0.3134 | Soil |  | 1887.0546 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-209 | 91)PF1_1.11_3_Soil |  |  | 2245.976 |  | 0.3538 | Soil |  | 1704.5682 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-210 | 92)PF1_1.11_4_Soil |  |  | 2354.008 |  | 0.3732 | Soil |  | 1786.5584 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-211 | BL2_Soil |  |  | 2586.443 |  | 7.82 | Soil |  | 1962.9633 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-212 | 93)PF1_1.11_5_Soil |  |  | 2875.469 |  | 0.302 | Soil |  | 2182.3176 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-213 | 94)PF1_1.11_6_Soil |  |  | 2621.046 |  | 0.366 | Soil |  | 1989.225 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-214 | 95)PF1_1.11_7_Soil |  |  | 2481.267 |  | 0.3567 | Soil |  | 1883.1407 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-215 | 96)PF1_1.11_8_Soil | 1.89 | 25.611 | 2837.13 | 5.937 | 0.3676 | Soil |  | 2153.2205 | 80.8914 | 0.080891 |  |  |  | 0.080039 | FALSE | <LOQ | 43.1379 | 136.2497 | 0.13625 |  | -0.20128
|  | 250228-Frouke-VMM-216 | 97)PF1_1.15_1_Soil |  |  | 2477.428 |  | 0.3813 | Soil |  | 1880.2271 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-217 | 98)PF1_1.15_2_Soil |  |  | 2449.798 |  | 0.394 | Soil |  | 1859.2575 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-218 | 99)PF1_1.15_3_Soil | 1.8 | 23.414 | 2349.813 | 9.636 | 0.393 | Soil |  | 1783.3746 | 83.5181 | 0.083518 |  |  |  | 0.082665 | FALSE | <LOQ | 24.2985 | 86.673 | 0.086673 |  | -0.55765
|  | 250228-Frouke-VMM-219 | 100)PF1_1.15_4_Soil |  |  | 2160.514 |  | 0.318 | Soil |  | 1639.7074 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-220 | 101)PF1_1.15_5_Soil |  |  | 2413.784 |  | 0.356 | Soil |  | 1831.925 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-221 | 102)PF1_1.15_6_Soil |  |  | 2359.708 |  | 0.3946 | Soil |  | 1790.8843 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-222 | 103)PF1_1.15_7_Soil |  |  | 2540.584 |  | 0.379 | Soil |  | 1928.159 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-223 | 104)PF1_1.15_8_Soil | 1.9 | 14.166 | 2500.714 | 9.409 | 0.333 | Soil |  | 1897.8999 | 56.0363 | 0.056036 |  |  |  | 0.055184 | FALSE | <LOQ | 15.0558 | 59.5561 | 0.059556 |  | -0.75258
|  | 250228-Frouke-VMM-224 | 105)PF1_1.19_1_Soil |  |  | 2732.7 |  | 0.3158 | Soil |  | 2073.9641 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-225 | 106)PF1_1.19_2_Soil |  |  | 2877.964 |  | 0.4012 | Soil |  | 2184.2112 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-226 | 107)PF1_1.19_3_Soil |  |  | 2744.322 |  | 0.3825 | Soil |  | 2082.7845 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-227 | 108)PF1_1.19_4_Soil | 1.86 | 11.896 | 2181.247 | 4.005 | 0.3704 | Soil |  | 1655.4426 | 48.5016 | 0.048502 |  |  |  | 0.047649 | FALSE | <LOQ | 29.7029 | 121.1026 | 0.1211 |  | -0.31016
|  | 250228-Frouke-VMM-228 | 109)PF1_1.19_5_Soil |  |  | 2064.005 |  | 0.27 | Soil |  | 1566.4626 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-229 | 110)PF1_1.19_6_Soil |  |  | 2142.006 |  | 0.3424 | Soil |  | 1625.6609 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-230 | 111)PF1_1.19_7_Soil |  |  | 2363.157 |  | 0.8 | Soil |  | 1793.5019 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-231 | 112)PF1_1.19_8_Soil |  |  | 3030.555 |  | 0.2875 | Soil |  | 2300.0191 | 0 | 0 |  |  |  | -0.00085261 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-232 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-233 | BL3_Soil | 1.86 | 16.883 | 2780.373 | 6.379 | 7.82 | Soil |  | 2110.1452 | 2.5578 | 0.0025578 |  |  |  | 0.0017052 | FALSE | <LOQ | 26.4665 | 4.0098 | 0.0040098 |  | #DIV/0!
|  | 250228-Frouke-VMM-234 | BL4_Biota |  |  | 833.56 |  | 7.82 | Biota |  | 632.6247 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-235 | 113)PF1_1.3_1_Pea |  |  | 2112.735 |  | 0.4134 | Biota |  | 1603.4459 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-236 | 114)PF1_1.3_2_Pea |  |  | 1843.085 |  | 0.3274 | Biota |  | 1398.7968 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-237 | 115)PF1_1.3_3_Pea |  |  | 1679.063 |  | 0.4334 | Biota |  | 1274.3134 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-238 | 116)PF1_1.3_4_Pea |  |  | 1400.265 |  | 0.4116 | Biota |  | 1062.7216 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-239 | 117)PF1_1.3_5_Pea |  |  | 3424.981 |  | 0.5742 | Biota |  | 2599.366 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-240 | 118)PF1_1.3_6_Pea | 1.7 | 17.556 | 2628.269 | 5.27 | 0.6429 | Biota |  | 1994.7069 | 34.225 | 0.034225 |  |  |  | 0.034225 | FALSE | <LOQ | 33.3131 | 64.943 | 0.064943 |  | #DIV/0!
|  | 250228-Frouke-VMM-241 | 119)PF1_1.3_7_Pea | 1.6 | 15.894 | 2229.163 | 0.795 | 0.4066 | Biota |  | 1691.8081 | 57.7637 | 0.057764 |  |  |  | 0.057764 | FALSE | <LOQ | 199.9245 | 726.587 | 0.72659 |  | #DIV/0!
|  | 250228-Frouke-VMM-242 | 120)PF1_1.3_8_Pea |  |  | 1439.157 |  | 0.4092 | Biota |  | 1092.2384 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-243 | 121)PF1_1.7_1_Pea |  |  | 1546.093 |  | 0.3227 | Biota |  | 1173.3968 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-244 | 122)PF1_1.7_2_Pea |  |  | 1962.469 |  | 0.3409 | Biota |  | 1489.4025 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-245 | 123)PF1_1.7_3_Pea |  |  | 2010.814 |  | 0.5175 | Biota |  | 1526.0936 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-246 | 124)PF1_1.7_4_Pea | 1.8 | 23.95 | 1376.782 | 4.329 | 0.491 | Biota |  | 1044.8993 | 116.705 | 0.11671 |  |  |  | 0.11671 | FALSE | <LOQ | 55.3246 | 269.5889 | 0.26959 |  | #DIV/0!
|  | 250228-Frouke-VMM-247 | 125)PF1_1.7_5_Pea |  |  | 2741.077 |  | 0.3396 | Biota |  | 2080.3217 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-248 | 126)PF1_1.7_6_Pea | 1.94 | 10.373 | 2401.024 | 5.027 | 0.485 | Biota |  | 1822.2408 | 29.3425 | 0.029342 |  |  |  | 0.029342 | FALSE | <LOQ | 20.6346 | 58.3698 | 0.05837 |  | #DIV/0!
|  | 250228-Frouke-VMM-249 | 127)PF1_1.7_7_Pea |  |  | 1989.353 |  | 0.3255 | Biota |  | 1509.8059 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-250 | 128)PF1_1.7_8_Pea |  |  | 1392.343 |  | 0.3561 | Biota |  | 1056.7093 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-251 | 129)PF1_1.11_1_Pea |  |  | 1971.602 |  | 0.4644 | Biota |  | 1496.3339 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-252 | 130)PF1_1.11_2_Pea |  |  | 2278.151 |  | 0.4502 | Biota |  | 1728.9872 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-253 | 131)PF1_1.11_3_Pea |  |  | 2164.727 |  | 0.3613 | Biota |  | 1642.9048 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-254 | 132)PF1_1.11_4_Pea | 1.7 | 19.423 | 3236.853 | 3.8 | 0.488 | Biota |  | 2456.5876 | 40.5046 | 0.040505 |  |  |  | 0.040505 | FALSE | <LOQ | 51.1132 | 106.591 | 0.10659 |  | #DIV/0!
|  | 250228-Frouke-VMM-255 | 132a)PF1_1.11_4_Pea | 1.77 | 464.304 | 2680.409 | 53.737 | 0.4695 | Biota |  | 2034.2782 | 1215.3364 | 1.2153 |  |  |  | 1.2153 | TRUE | 1.2153 | 86.403 | 226.1638 | 0.22616 |  | #DIV/0!
|  | 250228-Frouke-VMM-256 | 132b)PF1_1.11_4_Pea | 1.77 | 45.206 | 1856.042 | 6.557 | 0.4937 | Biota |  | 1408.6305 | 162.5084 | 0.16251 |  |  |  | 0.16251 | FALSE | <LOQ | 68.9431 | 247.8396 | 0.24784 |  | #DIV/0!
|  | 250228-Frouke-VMM-257 | BL5_Biota |  |  | 1923.284 |  | 7.82 | Biota |  | 1459.6633 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-258 | 133)PF1_1.11_5_Pea | 1.71 | 17.939 | 2802.237 | 4.433 | 0.4047 | Biota |  | 2126.7387 | 52.1064 | 0.052106 |  |  |  | 0.052106 | FALSE | <LOQ | 40.467 | 117.542 | 0.11754 |  | #DIV/0!
|  | 250228-Frouke-VMM-259 | 134)PF1_1.11_6_Pea |  |  | 2895.095 |  | 0.43 | Biota |  | 2197.2127 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-260 | 135)PF1_1.11_7_Pea |  |  | 2684.246 |  | 0.2224 | Biota |  | 2037.1902 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-261 | 136)PF1_1.11_8_Pea | 1.74 | 16.275 | 3339.818 | 6.561 | 0.7222 | Biota |  | 2534.7322 | 22.2265 | 0.022227 |  |  |  | 0.022227 | FALSE | <LOQ | 24.8057 | 33.8767 | 0.033877 |  | #DIV/0!
|  | 250228-Frouke-VMM-262 | 137)PF1_1.15_1_Pea |  |  | 1517.156 |  | 0.1915 | Biota |  | 1151.4352 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-263 | 138)PF1_1.15_2_Pea |  |  | 2780.274 |  | 0.3103 | Biota |  | 2110.07 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-264 | 139)PF1_1.15_3_Pea |  |  | 2668.718 |  | 0.3802 | Biota |  | 2025.4054 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-265 | 140)PF1_1.15_4_Pea | 1.84 | 10.361 | 2050.889 | 1.877 | 0.2105 | Biota |  | 1556.5083 | 79.0566 | 0.079057 |  |  |  | 0.079057 | FALSE | <LOQ | 55.1998 | 421.186 | 0.42119 |  | #DIV/0!
|  | 250228-Frouke-VMM-266 | 141)PF1_1.15_5_Pea |  |  | 2440.761 |  | 0.3772 | Biota |  | 1852.399 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-267 | 142)PF1_1.15_6_Pea | 1.6 | 13.849 | 2811.07 | 3.196 | 0.1801 | Biota |  | 2133.4425 | 90.1081 | 0.090108 |  |  |  | 0.090108 | FALSE | <LOQ | 43.3323 | 281.9402 | 0.28194 |  | #DIV/0!
|  | 250228-Frouke-VMM-268 | 143)PF1_1.15_7_Pea |  |  | 1019.798 |  | 0.2517 | Biota |  | 773.9688 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-269 | 144)PF1_1.15_8_Pea |  |  | 1333.001 |  | 0.3189 | Biota |  | 1011.672 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-270 | 145)PF1_1.19_1_Pea |  |  | 1495.976 |  | 0.4025 | Biota |  | 1135.3608 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-271 | 146)PF1_1.19_2_Pea |  |  | 1525.257 |  | 0.5179 | Biota |  | 1157.5834 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-272 | 147)PF1_1.19_3_Pea | 1.79 | 9.352 | 1799.15 | 3.107 | 0.4863 | Biota |  | 1365.4527 | 35.2098 | 0.03521 |  |  |  | 0.03521 | FALSE | <LOQ | 30.0998 | 113.3241 | 0.11332 |  | #DIV/0!
|  | 250228-Frouke-VMM-273 | 148)PF1_1.19_4_Pea |  |  | 1619.663 |  | 0.335 | Biota |  | 1229.2322 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-274 | 149)PF1_1.19_5_Pea |  |  | 1518.183 |  | 0.5274 | Biota |  | 1152.2147 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-275 | 150)PF1_1.19_6_Pea | 1.76 | 14.652 | 2131.911 | 3.258 | 0.3213 | Biota |  | 1617.9994 | 70.4608 | 0.070461 |  |  |  | 0.070461 | FALSE | <LOQ | 44.9724 | 216.2702 | 0.21627 |  | #DIV/0!
|  | 250228-Frouke-VMM-276 | 151)PF1_1.19_7_Pea |  |  | 2223.992 |  | 0.501 | Biota |  | 1687.8836 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-277 | 152)PF1_1.19_8_Pea | 1.73 | 34.873 | 711.209 | 6.556 | 0.3163 | Biota |  | 539.7672 | 510.6503 | 0.51065 |  |  |  | 0.51065 | FALSE | <LOQ | 53.1925 | 778.9053 | 0.77891 |  | #DIV/0!
|  | 250228-Frouke-VMM-278 | 152a)PF1_1.19_8_Pea |  |  | 1833.466 |  | 0.153 | Biota |  | 1391.4966 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-279 | 152b)PF1_1.19_8_Pea |  |  | 949.132 |  | 0.0639 | Biota |  | 720.3373 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-280 | ACN |  |  |  |  | #N/A | #N/A |  | 0 | #DIV/0! | #DIV/0! |  |  |  | #N/A | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-281 | BL6_Biota |  |  | 2066.607 |  | 7.82 | Biota |  | 1568.4373 | 0 | 0 |  |  |  | 0 | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | 250228-Frouke-VMM-282 | ACN | [7 empty] | 0 | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | FALSE | <LOQ | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!